## Slide 1: Article 30 – Extension of Sewer on Willow Road for 254-260 Ayer Road in Littleton
Location:
  Willow Road at Littleton Road

## Slide 2: Article 30 – Extension of Sewer on Willow Road for 254-260 Ayer Road in Littleton
What’s Proposed:
Private developers extending the Town’s sewer main on Willow Road to service 184-192 Littleton Road in Ayer and 254-260 Ayer Road in Littleton (the “Gas Station”)
Current sewer extent on Willow Road is in the vicinity of Longview Circle

## Slide 3: Article 30 – Extension of Sewer on Willow Road for 254-260 Ayer Road in Littleton

## Slide 4: Article 30 – Extension of Sewer on Willow Road for 254-260 Ayer Road in Littleton
Sewer Availability:
  2022 Agreement with Devens WWTP includes 350,000 gallons per day capacity
  350,000 gallons per day – this number was developed based on the Town’s future projections
    Known development
    Population growth
    Factor for unknown
  Currently discharge minimum of 50,000 gpd to Devens, depending on Infiltration/Inflow conditions

## Slide 5: Article 30 – Extension of Sewer on Willow Road for 254-260 Ayer Road in Littleton
Sewer Availability (continued):
  Approximately 250,000 gallons per day of the 350,000 gallons per day is reserved for known developments
  Remaining 100,000 gallons per day is for population growth and a factor for unknowns, of which this request would come from
  Gas station request is 1,220 gpd

## Slide 6: Article 30 – Extension of Sewer on Willow Road for 254-260 Ayer Road in Littleton
Other Considerations:
  The Sewer extension, paid/installed by the Developer, would provide a sewer main on Willow Road, allowing for the connection of properties currently on septic
    Poor percolation, DPW has received requests for sewer connection
    Bennetts Brook E. Coli impairment
  Out of Town Connection pays highest sewer rate